STRUCTURED CABLING SITE SURVEY

LDS Church Meetinghouse — Network Infrastructure Deployment

Version 1.12  —  Last Updated: September 5, 2026

| ID-1 | Meetinghouse Name |
| --- | --- |
| ID-2 | Building / Facility ID Number |
| ID-3 | Full Address (Street, City, State, ZIP) |
| ID-4 | Country |
| ID-5 | Survey Date |
| ID-6 | Surveying Technician Name / Company |

# 1.  Site Logistics & Access

Complete before touring the building. Confirm access arrangements with the local point of contact.

| 1.1 | Describe Entry (Example: Lockbox, east rear door) |
| --- | --- |
| 1.2 | Key / Lockbox / Access Code Info (or how access will be arranged for install crew) |
| 1.3 | Alarm system present? ☐ Yes ☐ No Notes: |

REQUIRED PHOTOS

| 📷 P1.1 | Building exterior — main entrance |
| --- | --- |
| 📷 P1.1.1 | Building exterior — all sides |
| 📷 P1.2 | Lockbox / keypad — close-up showing location and code label (if used) |
| 📷 P1.3 | Any other posted access instructions or signage |

| 🎯 SECTION GOAL | This section doesn't drive material quantities — it captures what the install crew needs to get in the building on install day (keys, codes, escort). Route these details to scheduling/dispatch, not the BOM. |
| --- | --- |

# 2.  Building Overview

| 2.1 | Building Type (Meetinghouse / Stake Center / Other) |
| --- | --- |
| 2.2 | Does the floor plan provided match the building? Does the building have any additions causing the floor plan to not be accurate? (Have any additional structures been added?) |
| 2.3 | Primary Construction Type (concrete block, wood frame, steel, brick, mixed) |
| 2.4 | Number of Floors / Levels |
| 2.5 | Floor plan available on-site or from facilities? ☐ Yes ☐ No Notes: |
| 2.6 | Active remodel/construction underway at this site? Note scope and expected completion — affects both current access and whether these conditions will still be accurate by install time. ☐ Yes ☐ No Notes: |

REQUIRED PHOTOS

| 📷 P2.2 | If you see or find a fire escape plan, take a photo of it |
| --- | --- |
| 📷 P2.3 | Snap some photos if active remodel/construction area is present |
| 📷 P2.4 | Any existing damage noted — ceiling damage, water stains, etc., if present |

| 🎯 SECTION GOAL | Confirms the floor plan matches reality. Any additions or plan inaccuracies found here should trigger a review of the drop-count design before finalizing the BOM — an undocumented room means undocumented drops. |
| --- | --- |

# 3.  Building Access Spaces — Mezzanine / Attic / Crawl Space

Crawl spaces are commonly found in closets, behind the pulpit, or in HVAC rooms — check those locations specifically even if none is obvious elsewhere.

| 3.1 | Mezzanine present? ☐ Yes ☐ No Notes: |
| --- | --- |
| 3.2 | Mezzanine Access Method (stairs, hatch, other — never a ladder) — accessed from where? |
| 3.3 | Full Mezzanine (covers entire building footprint) or Partial? If partial, describe extent/location |
| 3.4 | Attic access present? Note location(s). ☐ Yes ☐ No Notes: |
| 3.5 | More than one attic access point or separate attic space? Describe each if so. ☐ Yes ☐ No Notes: |
| 3.6 | Attic Conditions — clearance height, obstructions |
| 3.7 | Is the attic walkable (decking/flooring present)? ☐ Yes ☐ No Notes: |
| 3.8 | Is plywood needed to walk safely across joists? ☐ Yes ☐ No Notes: |
| 3.9 | Crawl space present? Check closets, behind the pulpit, and HVAC rooms. Consult the facilities manager (FM) specifically about crawl spaces and hidden/non-obvious attic access — ask before relying on a visual walkthrough alone. ☐ Yes ☐ No Notes: |
| 3.10 | Is the crawl space accessible? Note its entry point and size. ☐ Yes ☐ No Notes: |

REQUIRED PHOTOS

| 📷 P3.1 | Mezzanine — wide shot |
| --- | --- |
| 📷 P3.2 | Mezzanine access |
| 📷 P3.3 | Attic access point(s) |
| 📷 P3.4 | Attic interior — wide shot showing walkable/decking condition |
| 📷 P3.5 | Crawl space access point — entry point and size |

| 🎯 SECTION GOAL | Determines the pathway method and materials for attic/crawl runs: plywood decking if joists aren't walkable, fall-protection gear, and whether a ladder is needed for attic access (a ladder is never used for mezzanine access — stairs or hatch only). Feed the access method found here into the pathway material estimate. |
| --- | --- |

# 4.  IDF / MDF Telecom Room Condition

If multiple telecom rooms exist, duplicate this section per room and label accordingly (4A, 4B, ...).

| 4.1 | Current Room Location / Description (e.g., "north hall closet near gym") |
| --- | --- |
| 4.2 | Current Room Type (dedicated telecom closet / shared mechanical-utility / office / other) |
| 4.3 | Current Room Able to Accept Rack? ☐ Yes ☐ No If yes: ☐ Open ☐ Enclosed Notes: |
| 4.4 | Existing rack or wall-mount present? (Is there an old AV rack/stand that can be re-used?) Note type/size. ☐ Yes ☐ No Notes: |
| 4.5 | (If rack is staying in same location) Power Outlets Available (within 10 ft) — count, type, dedicated outlet? (needed for MS130 / MX67 / PDU) |
| 4.6 | (If rack is staying in same location) HVAC / climate control present in room? Note condition. ☐ Yes ☐ No Notes: |
| 4.7 | Room Door / Lock Type |
| 4.8 | Room Cleanliness / Clutter / Shared-Use Notes |
| 4.9 | WAN / ISP Demarc (NIU) Location |

REQUIRED PHOTOS

| 📷 P4.1 | Wide shot of full room from doorway |
| --- | --- |
| 📷 P4.2 | Rack / wall-mount area, close-up |
| 📷 P4.3 | Power outlets / electrical panel |
| 📷 P4.4 | Door and lock hardware |
| 📷 P4.5 | WAN / ISP demarc (NIU), close-up |

| 🎯 SECTION GOAL | Establishes the rack environment — this is where rack/enclosure size, PDU, and patch panel count get sized. Power and HVAC findings here also flag whether electrical work is a prerequisite before materials can even be installed. Note: cable management is not part of this project's scope. |
| --- | --- |

# 5.  Existing Infrastructure — Reuse / Demo Assessment

Note presence and condition only — full make/model inventory is not required at this stage.

| 5.1 | Existing patch panel(s) present? Note condition / apparent usability. ☐ Yes ☐ No Notes: |
| --- | --- |
| 5.2 | Existing switch(es) present? ☐ Yes ☐ No How many ports are used? Count: ______ Notes: |
| 5.3 | Is the current equipment location in a lockable space or public space? (should match Section 4) |
| 5.4 | Existing conduit / raceway that appears reusable? ☐ Yes ☐ No Est. raceway needed (in feet), 90s required (and what type — inside/outside, surface mount boxes, etc.). Notes: |
| 5.5 | Items Recommended for Demo / Removal |
| 5.6 | If the current equipment mounting location (shelf or otherwise) is the ideal location to mount the new rack: is additional backerboard required? Will the old mounting location need to be decommissioned to clear space for the new rack? Explain in detail: |

REQUIRED PHOTOS

| 📷 P5.1 | Existing patch panel(s) |
| --- | --- |
| 📷 P5.2 | Existing switch / network equipment |
| 📷 P5.3 | Existing AP mounting locations |

| 🎯 SECTION GOAL | Directly shrinks or grows the BOM — anything reusable here (patch panels, switches, raceway) comes OFF the new-materials list; anything flagged for demo goes ON the removal/labor list instead. |
| --- | --- |

# 6.  Rack Relocation

Priority order for relocation decisions: (1) leave in current location — always preferred, since it lets old cabling be re-terminated in place; (2) mezzanine, if a suitable space exists; (3) materials center, ideally adjacent to/near the AV rack (see Section 8 for any abandoned AV rack space that could serve this purpose). Relocating the rack does NOT require re-running all horizontal cabling — most existing runs are abandoned in place ("black wire"); only new runs for items that must reach the new location (e.g., IP phone, network printer) are typically needed.

| 6.1 | Does this site show signs the rack should be relocated? (rack in unconditioned space, rack not in ideal location, rack cannot fit in existing equipment location, wet location, etc.) ☐ Yes ☐ No Notes: |
| --- | --- |
| 6.2 | Reason(s) Observed — check all that apply: ☐ Room too small ☐ Wet location ☐ Hot location ☐ Dirty location ☐ Outside entrance into electrical room (if non-conditioned space) ☐ Other |
| 6.3 | Recommended Option — ☐ 1: Remain in current location ☐ 2: Relocate to mezzanine ☐ 3: Relocate to materials center (near AV rack) |
| 6.4 | If Option 2 (Mezzanine) — describe space and suitability (size, access, power, climate); see Section 3 for detailed mezzanine access/type |
| 6.5 | If Option 3 (Materials Center) — describe space and proximity to AV rack; note if this is freed-up space from Section 8. Take a photo with your finger pointing to the possible location (P6.4) if the exact spot isn't obvious from a normal shot. |
| 6.6 | Approx. Distance Between Current and Proposed Location, and Demarc Extension Required (distance in ft) |
| 6.7 | Power Available at Proposed Location — outlets, type, dedicated circuit? |
| 6.8 | Structural / Mounting Considerations at Proposed Location (wall type, floor loading, clearance). Is it drywall? If yes, what size backer board is required? If this is a public space, the backer board would need to be painted white. |
| 6.9 | Public or Locked Space? (Materials center is considered public space even with a locking door.) Open rack or locking cabinet? |

REQUIRED PHOTOS

| 📷 P6.1 | Current rack/equipment location — wide shot |
| --- | --- |
| 📷 P6.2 | Proposed new location — wide shot (mezzanine or materials center, whichever applies) |
| 📷 P6.3 | Path between old and new location, if relocation recommended |
| 📷 P6.4 | Finger pointing to the possible/proposed rack location, if not obvious from a normal shot |

| 🎯 SECTION GOAL | If relocation is recommended, this drives the new-rack BOM: enclosure/wall-mount, backer board, and demarc extension cable. |
| --- | --- |

# 7.  AP Placement Verification (Heat Map Review)

Bring a copy of the AP heat map on-site. Walk each planned AP location and eyeball it against real-world conditions — mounting height, ceiling type, and access all affect whether the plotted location is actually installable as drawn.

| 7.1 | Heat map available and reviewed on-site for this survey? (MUST have a heat map showing AP placement — if you do not, contact Compucom PMO.) ☐ Yes ☐ No Notes: |
| --- | --- |
| 7.2 | Do any of the AP placements seem to pose an issue? Or can they go where they are placed on the map? ☐ Yes ☐ No Notes: |
| 7.3 | Vaulted / High Ceiling Areas — note estimated height where a planned AP falls in one of these (e.g., Relief Society room, cultural hall, Stage) |
| 7.4 | Mounting Feasibility Issues — flag anything unusual (e.g., AP plotted on a stage 16 ft up, no accessible structure to mount to). We do not use lifts — if height exceeds what's reachable by ladder, flag as a hard issue requiring a heat map deviation, not a work-around. |
| 7.5 | Recommended Deviations From Heat Map, If Any — alternate location/height and reason |
| 7.6 | AP Count of This Building From Heat Map / Floor Plan |

REQUIRED PHOTOS

| 📷 P7.1 | Each planned AP location — wide shot showing ceiling height/type context |
| --- | --- |
| 📷 P7.2 | Any flagged high, vaulted, or hard-to-reach AP location |

| 🎯 SECTION GOAL | Confirms the AP count and mounting hardware needed matches the heat map — any flagged deviation changes the AP or mounting-bracket line items in the BOM before ordering. |
| --- | --- |

# 8.  AV Systems Documentation

Document every AV rack/equipment location in the building — larger buildings often have more than one (e.g., cultural hall/gym rack, main auditorium rack, foyer or overflow rack). For each one found, note whether it's active or old/abandoned equipment. An abandoned AV rack that can be removed is a strong candidate location for Section 6 (Rack Relocation) — flag it there if so.

| 8.1 | Number of AV Rack/Equipment Locations Found in Building (1 or 2 is typical) |
| --- | --- |
| 8.2 | For Each Location — Room/Area & Description, condition, and nearby space available (label as A, B, C if more than one) |
| 8.3 | Old / abandoned AV or video equipment present (typically found in materials center)? Note location(s) and what's there. ☐ Yes ☐ No Notes: |
| 8.4 | Is there a networked switch in the AV rack(s)? ☐ Yes ☐ No Notes: |
| 8.5 | Is there a BSS (building sound system / non-networked switch) in this rack? ☐ Yes ☐ No. If so, take a detailed photo of the non-networked switch that will not be removed (front and back — see P8.4). Make sure installers know NOT to touch a non-networked switch going to BSS. |
| 8.6 | AV Support Contact — call with questions about the AV install to validate scope/approach (name/number): |
| 8.7 | Notes — AV control systems |

REQUIRED PHOTOS

| 📷 P8.1 | Each AV rack location — wide shot (one per rack found) |
| --- | --- |
| 📷 P8.2 | Old/abandoned AV equipment, close-up |
| 📷 P8.3 | Close-up and wide shot of the whole rack — front and back |
| 📷 P8.4 | BSS (non-networked) switch, if present — front and back close-up |

| 🎯 SECTION GOAL | A new AV-side network drop is always needed — this section determines whether it's 1 or 2 drops, based on how many AV racks/cabinets are in the building (see 8.1). Also flags any BSS equipment that must NOT be touched — keeps the BOM from over- or under-ordering AV-adjacent gear. |
| --- | --- |

# 9.  Ceiling & Cable Pathway Assessment

| 9.1 | Ceiling Type by Area — check EVERY room/area individually, not just hallways. This is a quick glance-and-photo, not a full stop — look up, note the type, snap P9.1, move on (about a minute per room). Additions and remodels often mix ceiling types within the same building — e.g., original hall may be hard lid while rooms off an added wing have suspended ceiling, even though the connecting hallway itself is hard lid. List each area: classrooms, cultural hall, offices, halls: drop tile / hard lid / open-exposed / mixed |
| --- | --- |
| 9.2 | Existing Cable Pathway Type (J-hooks, conduit, cable tray, none observed) — goal is to obtain a rough count of J-hooks, Sleeves needed for the site |
| 9.3 | Pathway Obstructions Noted (HVAC ducts, plumbing, structural members, fire-stopping) |
| 9.4 | Evidence of Previous Pathway Penetrations — patched/covered holes in walls, floors, or ceilings suggesting where earlier installers pulled cable |
| 9.5 | Penetration Sleeve Size Needed — note where each new wall/floor/ceiling penetration will need a sleeve, and whether it's 1 in. or 2 in. based on the cable bundle passing through. The size difference matters for the BOM — don't guess. |
| 9.6 | Existing raceway present? Note location(s). ☐ Yes ☐ No Notes: |
| 9.7 | Reason Raceway Was Used, If Known (no ceiling/attic access, hard lid, code requirement, cosmetic finish, other) |
| 9.8 | New Raceway Needed — estimate linear footage and where |
| 9.9 | Raceway Size/Type Needed by Location — skinny (single/device drop) vs. fat (trunk/multi-cable run); note which applies where |

REQUIRED PHOTOS

| 📷 P9.1 | Ceiling type — quick photo per room/area, including every room off each hallway (not just the hallway itself); glance and snap, no need to stage the shot |
| --- | --- |
| 📷 P9.2 | Existing pathway / J-hooks / conduit, close-up |
| 📷 P9.3 | Any notable obstructions along likely cable routes |
| 📷 P9.4 | Patched or covered holes suggesting previous cable pathways |
| 📷 P9.5 | AV devices (speakers, controls, keypads) that indicate existing low-voltage routing |
| 📷 P9.6 | Existing raceway, close-up (label/size if visible) |
| 📷 P9.7 | Existing raceway routing, wide shot |
| 📷 P9.8 | Each new penetration point needing a sleeve, close-up — angle the shot so 1 in. vs. 2 in. is distinguishable |

Note: AV and other low-voltage device locations (speakers, wall-mounted controls, keypads) are a clue that someone already ran cable to that spot — worth noting as hints for viable pathway routes (see P9.5).

| 🎯 SECTION GOAL | This is the core material-estimate section — ceiling type and pathway findings translate directly into J-hook count, raceway footage (skinny vs. fat), penetration sleeve count and size (1 in. vs. 2 in.), and Sleeves needs for the BOM. |
| --- | --- |

# 10.  The "Two" Every-Site Pulls (Chapel Cam/AV) & The "Other Two" Every-Site Pulls (BMS/Fire)

These four systems require a network drop at most sites, but not every site will have all four — treat absence as unconfirmed until you've actually looked, not assumed. Actively search for each one (ask the FM if unsure) rather than only noting what's immediately visible. Photograph each system found.

| 10.1 | AV — Location(s) found (or where a pull would go if not yet present); existing infrastructure/cabling already there? Notes |
| --- | --- |
| 10.2 | BMS / HVAC present at this site? ☐ Yes ☐ No Notes: |
| 10.3 | BMS / HVAC — Location(s) found (or where a pull would go if not yet present); existing infrastructure/cabling already there? Notes |
| 10.4 | Fire / Security present at this site? ☐ Yes ☐ No Notes: |
| 10.5 | Fire / Security — Location(s) found (or where a pull would go if not yet present); existing infrastructure/cabling already there? Notes |
| 10.6 | Chapel Camera present at this site? (More than 1? Are they networked? Church-sanctioned brands: Clear Touch/Sony.) ☐ Yes ☐ No If church-approved cameras are networked, decom the old cable. Notes: |
| 10.7 | Chapel Camera — Location(s) found (or where a pull would go if not yet present); existing infrastructure/cabling already there? Notes |

REQUIRED PHOTOS

| 📷 P10.1 | AV drop location, if present |
| --- | --- |
| 📷 P10.2 | BMS/HVAC drop location, if present |
| 📷 P10.3 | Fire/Security drop location, if present |
| 📷 P10.4 | Chapel Camera drop location, if present |

| 🎯 SECTION GOAL | This section's job is to determine how many of these drops actually exist in this building for the BOM — not every building gets all four. Each 'present' answer counts toward the drop total (and possibly a switch port); each 'not present' means that drop isn't needed here. |
| --- | --- |

# 11.  FamilySearch Center

| 11.1 | Does this site have an official FamilySearch Center? ☐ Yes ☐ No Notes: |
| --- | --- |
| 11.2 | If Yes — Number of Computers (exact count): |
| 11.3 | Networked printer present? ☐ Yes ☐ No Notes: |
| 11.4 | IP Phone (VoIP) present in the FamilySearch Center? Note whether it's networked. ☐ Yes ☐ No Notes: |

REQUIRED PHOTOS

| 📷 P11.1 | FamilySearch Center room — wide shot |
| --- | --- |
| 📷 P11.2 | PCs / computer workstations |
| 📷 P11.3 | Printer, if present |
| 📷 P11.4 | IP Phone (VoIP), if present |

| 🎯 SECTION GOAL | The main point of this section is dongle count — how many network dongles to leave behind matches the PC count (11.2) 1-for-1. Also confirms whether a printer and/or IP phone are present: each one gets its own cable pull, on top of the dongles. |
| --- | --- |

# 12.  Additional Notes & Concerns

| 12.1 | General Notes |
| --- | --- |
| 12.2 | Safety Concerns / Hazards Observed |
| 12.3 | Special Access Requirements for Install Crew (scaffolding, ladder needed, escort required, etc. — note: lifts are never used) |

| 🎯 SECTION GOAL | Captures anything that affects labor or safety planning (scaffolding, ladders, escorts) — not material BOM, but should be flagged to the install crew lead before scheduling. Lifts are never used, so any location requiring one needs a different mounting solution flagged upstream instead. |
| --- | --- |

# 13.  Master Photo Checklist

Every required photo from this survey, gathered in one place. Check each box before leaving site to confirm nothing was missed.

Section 1 — Site Logistics & Access

| ☐ | P1.1 | Building exterior — main entrance |
| --- | --- | --- |
| ☐ | P1.1.1 | Building exterior — all sides |
| ☐ | P1.2 | Lockbox / keypad — close-up showing location and code label (if used) |
| ☐ | P1.3 | Any other posted access instructions or signage |

Section 2 — Building Overview

| ☐ | P2.2 | If you see or find a fire escape plan, take a photo of it |
| --- | --- | --- |
| ☐ | P2.3 | Snap some photos if active remodel/construction area is present |
| ☐ | P2.4 | Any existing damage noted — ceiling damage, water stains, etc., if present |

Section 3 — Building Access Spaces (Mezzanine / Attic / Crawl Space)

| ☐ | P3.1 | Mezzanine — wide shot |
| --- | --- | --- |
| ☐ | P3.2 | Mezzanine access |
| ☐ | P3.3 | Attic access point(s) |
| ☐ | P3.4 | Attic interior — wide shot showing walkable/decking condition |
| ☐ | P3.5 | Crawl space access point — entry point and size |

Section 4 — IDF / MDF Telecom Room Condition

| ☐ | P4.1 | Wide shot of full room from doorway |
| --- | --- | --- |
| ☐ | P4.2 | Rack / wall-mount area, close-up |
| ☐ | P4.3 | Power outlets / electrical panel |
| ☐ | P4.4 | Door and lock hardware |
| ☐ | P4.5 | WAN / ISP demarc (NIU), close-up |

Section 5 — Existing Infrastructure (Reuse / Demo Assessment)

| ☐ | P5.1 | Existing patch panel(s) |
| --- | --- | --- |
| ☐ | P5.2 | Existing switch / network equipment |
| ☐ | P5.3 | Existing AP mounting locations |

Section 6 — Rack Relocation

| ☐ | P6.1 | Current rack/equipment location — wide shot |
| --- | --- | --- |
| ☐ | P6.2 | Proposed new location — wide shot (mezzanine or materials center, whichever applies) |
| ☐ | P6.3 | Path between old and new location, if relocation recommended |
| ☐ | P6.4 | Finger pointing to the possible/proposed rack location, if not obvious from a normal shot |

Section 7 — AP Placement Verification (Heat Map Review)

| ☐ | P7.1 | Each planned AP location — wide shot showing ceiling height/type context |
| --- | --- | --- |
| ☐ | P7.2 | Any flagged high, vaulted, or hard-to-reach AP location |

Section 8 — AV Systems Documentation

| ☐ | P8.1 | Each AV rack location — wide shot (one per rack found) |
| --- | --- | --- |
| ☐ | P8.2 | Old/abandoned AV equipment, close-up |
| ☐ | P8.3 | Close-up and wide shot of the whole rack — front and back |
| ☐ | P8.4 | BSS (non-networked) switch, if present — front and back close-up |

Section 9 — Ceiling & Cable Pathway Assessment

| ☐ | P9.1 | Ceiling type — quick photo per room/area, including every room off each hallway (not just the hallway itself); glance and snap, no need to stage the shot |
| --- | --- | --- |
| ☐ | P9.2 | Existing pathway / J-hooks / conduit, close-up |
| ☐ | P9.3 | Any notable obstructions along likely cable routes |
| ☐ | P9.4 | Patched or covered holes suggesting previous cable pathways |
| ☐ | P9.5 | AV devices (speakers, controls, keypads) that indicate existing low-voltage routing |
| ☐ | P9.6 | Existing raceway, close-up (label/size if visible) |
| ☐ | P9.7 | Existing raceway routing, wide shot |
| ☐ | P9.8 | Each new penetration point needing a sleeve, close-up — angle the shot so 1 in. vs. 2 in. is distinguishable |

Section 10 — The "Two" Every-Site Pulls (Chapel Cam/AV) & The "Other Two" Every-Site Pulls (BMS/Fire)

| ☐ | P10.1 | AV drop location, if present |
| --- | --- | --- |
| ☐ | P10.2 | BMS/HVAC drop location, if present |
| ☐ | P10.3 | Fire/Security drop location, if present |
| ☐ | P10.4 | Chapel Camera drop location, if present |

Section 11 — FamilySearch Center

| ☐ | P11.1 | FamilySearch Center room — wide shot |
| --- | --- | --- |
| ☐ | P11.2 | PCs / computer workstations |
| ☐ | P11.3 | Printer, if present |
| ☐ | P11.4 | IP Phone (VoIP), if present |

# 14.  Survey Sign-Off

| 14.1 | Technician Signature (print name) |
| --- | --- |
| 14.2 | Date Completed |
| 14.3 | Total Photos Taken (should match Master Photo Checklist above) |

Version History

| Version | Date | Changes |
| --- | --- | --- |
| 1.0 | August 12, 2026 | Formal version control established. Baseline reflects full survey structure through Section 14 as of this date. |
| 1.1 | September 4, 2026 | Reconciled hand-edited draft: cleaned up formatting on several expanded fields, added IP Phone (VoIP) field/photo to FamilySearch section, fixed broken FamilySearch computer-count field, restored the Meraki/MS130 switch check (merged with new decom instruction), split an overloaded Rack Relocation field, assigned proper IDs to unlabeled AV rack photos, and synced the Master Photo Checklist to match. |
| 1.2 | September 4, 2026 | Added a "Section Goal" callout to the end of every section (1–12) tying that section's raw findings to their BOM impact — what gets added, removed, or resized on the materials list based on the answers. |
| 1.3 | September 4, 2026 | Removed all references to lifts (never used) across Sections 3, 7, and 12. Clarified that a ladder is never used for mezzanine access (stairs/hatch only) but may be needed for attic access. |
| 1.4 | September 4, 2026 | Removed cable management field/photo from Section 4 (not in scope for this project). Added penetration sleeve sizing (1 in. vs. 2 in.) as a new field and photo in Section 9, since sleeve size is a distinct BOM line item. |
| 1.5 | September 4, 2026 | Trimmed the Section 6 (Rack Relocation) goal block — removed the "IP phone, printer... NOT a full re-cable" line. |
| 1.6 | September 4, 2026 | Corrected the Section 8 (AV Systems Documentation) goal block: a new AV-side drop is always needed, not conditional — the open question is 1 vs. 2 drops based on AV rack/cabinet count. |
| 1.7 | September 4, 2026 | Section 9 goal block: changed "conduit needs" to "Sleeves needs" for the BOM. |
| 1.8 | September 4, 2026 | Reframed the Section 10 (Four Every-Site Pulls) goal block: the section's job is to determine how many of the four drops actually exist in this specific building, not every building gets all four. |
| 1.9 | September 4, 2026 | Reframed the Section 11 (FamilySearch Center) goal block: the section's real purpose is dongle count matching PC count 1-for-1, plus flagging that a present printer or IP phone each gets its own cable pull. |
| 1.10 | September 4, 2026 | Moved the Version History table from the front (title page) to the very end of the document, after Section 14 (Survey Sign-Off). |
| 1.11 | September 5, 2026 | Batch of field-app-driven edits: 4.3 changed to Yes/No + Open/Enclosed; 4.5 "dedicated circuit" corrected to "dedicated outlet"; 5.3 cross-referenced to Section 4; 6.1 given concrete examples; 6.9 (Demarc Extension) merged into 6.6 (Distance); 7.1 given a Compucom PMO escalation note; added 7.6 (AP count from heat map); 9.2 goal text now mentions Sleeves alongside J-hooks; Section 10 retitled to reflect the AV/Chapel Camera vs. BMS/Fire pairing; removed 11.4 (Meraki/MS130 switch check) and its photo. |
| 1.12 | September 5, 2026 | P3.2 photo label shortened from "Mezzanine access point" to "Mezzanine access." |